## Slide 1: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 1
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: Decorative well & pond at home located east of application field 9

## Slide 2: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 2
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: Well & storage tank at home located east of application field 9

## Slide 3: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 3
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: Feature HC-02 located in buffer zone of field 11

## Slide 4: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 4
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: Livestock well located just northwest of application field 11

## Slide 5: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 5
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: Pond located in the east portion of application field 11, not listed as feature

## Slide 6: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 6
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: Pond located in the east portion of application field 11, not listed as feature

## Slide 7: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 7
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: Feature HC-08, located on east edge of application field 11’s buffer zone

## Slide 8: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 8
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: Feature HC-09, located on east edge of application field 11’s buffer zone

## Slide 9: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 9
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: Feature HC-09, located on east edge of application field 11’s buffer zone

## Slide 10: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 10
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: Possible feature found by investigators during site inspection, located in buffer zone of application field 11. Was labeled HC-20

## Slide 11: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 11
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: Possible feature found by investigators during site inspection, located in buffer zone of application field 11. The consultant added pink tape and labeled this possible feature as HC-20.

## Slide 12: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 12
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: Feature HC-011 A located in buffer on north-east side of application field 11

## Slide 13: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 13
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: Feature HC-011 B located in buffer on north-east side of application field 11

## Slide 14: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 14
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: Pond located between application fields 5 and 3

## Slide 15: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 15
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: Pond on south-east edge of application field 5

## Slide 16: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 16
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: HC-16, a feature but not a sensitive feature located between application fields 5 and 3

## Slide 17: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 17
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: Rocky outcrop of limestone located in application field 4, Highway 46 in the background

## Slide 18: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 18
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: Rocky outcrop of limestone located in application field 4, Highway 46 in the background

## Slide 19: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 19
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: Pond at the south-east end of application field 4, located half in and half out of the buffer zone

## Slide 20: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 20
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: : Possible well located in the south-east corner of field 4, slightly north of pond.

## Slide 21: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 21
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: Well located on south-east edge of application field 2.

## Slide 22: Photograph Log RN110389046 Honey Creek Ranch Wastewater Treatment Facility
Photograph No. 22
Photograph Date: 01/09/2020, taken by Investigator Kimberly Brady.
Description: Feature HC-17 located in application field 1, possibly made by an animal